## Inspection Data
JEC Post Storm Inspection Form
Item | Response
Overall Inspection Status | Not Damaged, Damaged Work Completed, Damaged Immediate Attention Needed, Damaged Action Required
Inspection Date
Inspector Name
Equipment Map Location
Latitude
Longitude
Substation
Circuit
Subtype | Underground, Overhead
Pole Condition | Non-Damaged, Storm Replaced, Cracked
Pole Top | OK, Damaged, Missing, Repaired/Replaced
Pole Cap | What is this?
Pole Plumb? | Yes, No
Pole Tagging | OK, Damaged, Missing, Repaired/Replaced
Pull Old Pole | Yes, No
Communication Proper Clearance | Yes, No
Crossarm Status | OK, Damaged, Missing, Repaired/Replaced
Crossarm Brace | OK, Damaged, Missing, Repaired/Replaced
Primary Insulator Status | OK, Damaged, Missing, Repaired/Replaced
Neutral Insulator Status | OK, Damaged, Missing, Repaired/Replaced
Secondary Insulator Status | OK, Damaged, Missing, Repaired/Replaced
Assembly Hardware Status | OK, Damaged, Missing, Repaired/Replaced
Cluster Mount Status | OK, Damaged, Missing, Repaired/Replaced
Equipment Mount Status | OK, Damaged, Missing, Repaired/Replaced
T-bracket Status | OK, Damaged, Missing, Repaired/Replaced
Guy Status | OK, Damaged, Missing, Repaired/Replaced
Guy Marker Status | OK, Damaged, Missing, Repaired/Replaced
Anchor Status | OK, Damaged, Missing, Repaired/Replaced
Riser Status | OK, Damaged, Missing, Repaired/Replaced
Transformer Status | OK, Damaged, Missing, Repaired/Replaced
Cutout Status | OK, Damaged, Missing, Repaired/Replaced
Arrestor Status | OK, Damaged, Missing, Repaired/Replaced
Light Status | No Light/Not Damaged, Damaged, Replaced
Outdoor Light Globe Status | OK, Damaged, Missing, Repaired/Replaced
Outdoor Light Arm Status | OK, Damaged, Missing, Repaired/Replaced
Decorative Light Status | OK, Damaged, Missing, Repaired/Replaced
Decorative Light Globe Status | OK, Damaged, Missing, Repaired/Replaced
Recloser Status | OK, Damaged, Missing, Repaired/Replaced
Capacitor Status | OK, Damaged, Missing, Repaired/Replaced
Regulator Status | OK, Damaged, Missing, Repaired/Replaced
Switch Status | OK, Damaged, Missing, Repaired/Replaced
Conductor Status | OK, Damaged, Missing, Repaired/Replaced
Number of Conductor Splices | (Number)
Ground Status | OK, Damaged, Missing, Repaired/Replaced
Connectors Status | OK, Damaged, Missing, Repaired/Replaced
Ties Status | OK, Damaged, Missing, Repaired/Replaced
Ground Clearance Issue | Yes, No
Clearance To Structure Issue | Yes, No
Primary Sag | Satisfactory, Unsatisfactory
Neutral Sag | Satisfactory, Unsatisfactory
Secondary Sag | Satisfactory, Unsatisfactory
Padmount Label Status | OK, Damaged, Missing, Repaired/Replaced
Padmount Doors Secured | OK, Damaged, Missing, Repaired/Replaced
Pentabolt | OK, Damaged, Missing, Repaired/Replaced
Lock | OK, Damaged, Missing, Repaired/Replaced
Device On Pad | OK, Damaged, Missing, Repaired/Replaced
Pad Condition | Ok, Cracked, Broken
Pad Level | Yes, No
Padmount Equipment Undermined | Yes, No
Padmount Equipment Need to Remove Sand | Yes, No
Padmount Transformer Status | Not Damaged, Damaged Work Completed, Damaged Immediate Attention Needed, Damaged Action Required
Primary Switchgear Status | OK, Damaged, Missing, Repaired/Replaced
Primary Junction Status | OK, Damaged, Missing, Repaired/Replaced
Secondary Pedestal Status | OK, Damaged, Missing, Repaired/Replaced
Meter Conductors Status | OK, Damaged, Missing, Repaired/Replaced
Meter Ground Status | OK, Damaged, Missing, Repaired/Replaced
Meter Hardware Status | OK, Damaged, Missing, Repaired/Replaced
Broken or Leaning Meter Pole | Satisfactory, Unsatisfactory
Service Entrance Hardware | Satisfactory, Unsatisfactory
House Knob Needs Reattaching | Yes, No
Broken Meter Seal | Yes, No
Theft of Service Suspected | Yes, No
Hurricane Broken Pole Present | Yes, No
Hurricane Downed Transformer Present | Yes, No
Is downed transformer attached to broken pole? | Yes, No
Hurricane Downed Condctor Present | Yes, No
Hurricane Downed Assemblies Present | Yes, No
Danger Tree | Yes, No
Danger Quantity | (Number)
Danger Limbs | Yes, No
Danger Limbs Quantity | (Number)
ROW Access Issues | Ok, Vegetation Blocking Access
ROW Access Issues Quantity | (Number)
Picture of Completed Work
Picture(s) of Work to Complete
Comments